## Slide 1: Probabilistic Models for One-Day Ahead Solar Irradiance Forecasting in Renewable Energy Applications
Carlos V. A. Silva, ICS Dept, University of Hawai`i at Mānoa
Lipyeow Lim, ICS Dept, University of Hawai`i at Mānoa
Duane Stevens, Atmo. Sc. Dept, University of Hawai`i at Mānoa
Dora Nakafuji, Hawaiian Electric Company

## Slide 2: Energy in the State of Hawai`i
State GOAL: 70% renewables by 2030.
In 2013, Hawaii relied on oil for 70% of its energy.
Hawaii’s electricity cost is 3 times the US average

## Slide 3: Disconnected Grids
Six independent grids: Kauai, Oahu, Molokai, Lanai, Maui, Hawaii.
UNLIKE MAINLAND
Cannot sell excess production
Cannot buy from neighbors to make up generation shortfall

## Slide 4: The Problem with Renewables (Solar, Wind)
Operator of the power grids need to ensure that demand is met (while minimizing cost of power supply thereby maximizing profit).
Demand (Load)
  Consumers like us!
Supply (Generation)
  Conventional power plants
  Solar/Wind Farms
  Rooftop Solar
Some uncertainty, but well understood to some degree. In Hawaii, humid and hot weather can create load!
Deterministic, but takes many hours to bring up additional generation units if the load spikes.
Higher uncertainty due to weather, but geographically centralized.
Higher uncertainty due to weather, but geographically distributed.
Weather (solar irradiance & wind) forecasting can lower the uncertainty!

## Slide 5: Weather Data Sources on the Island of O’ahu
SCBH1 Variable Description
TMPF Temperature,
RELH Relative Humidity,
SKNT Wind Speed,
GUST Wind Gust,
DRCT Wind Direction,
QFLG Quality check flag,
SOLR Solar Radiation,
TLKE Water Temperature,
PREC Precipitation accumulated,
SINT Snow interval,
FT Fuel Temperature,
FM10_hr_Fuel Moisture,
PEAK Peak_Wind Speed,
HI2424 Hr High Temperature,
LO2424 Hr Low Temperature,
PDIR Peak_Wind Direction,
VOLT Battery voltage

## Slide 6: Problem Statement
Weather station data (mainly solar irradiance) normalized to hourly samples. Given all sensor data today (sunset), predict the solar irradiance for the next day (8am-5pm).
Probabilistic Models (including Naïve Bayes)
Linear Regression
time (hours)
Solar Irradiance
S(t)
Forecast time points
Now
Day Ahead
Today
Evaluation Criteria
Mean Absolute Error (hourly)
MAE = Σ | Predicted – Actual |

## Slide 7: Linear Regression
Construct one LR model for each forecast time point (8am-5pm) the next day:
time (hours)
Solar Irradiance
S(t)
Forecast time points
Now
Day Ahead
Today

## Slide 8: Probabilistic Models: Preprocessing
Use clustering algorithms (K-means) to discretize the solar irradiance for each day into a discrete profile. K=5.
Hourly data is transformed into a sequence of discrete profile IDs.
Construct joint probability distributions for sequence assuming stationarity,
Data
(SCBH hourly)
Discretized
Daily Weather V. Profiles
Forecast Error
Conditional
Probability Distribution
Clustering
(K-means)
1-Day Ahead Forecast
Sliding
Windows
Notes: SCBH surface station observations
Currently only SOLAR irradiance observations

## Slide 9: Discretized Solar Irradiance Profiles
Scoffield Station (SCBH1) using data from 2012-2013
K-means (best of 100 runs)

## Slide 10: Probabilistic Models: Prediction
After getting distributions from historical data
Naïve Bayes:
Fixed-Order Markov models (w is fixed)

## Slide 11: Probabilistic Models: Variable Order
Fixed-Order:
Variable-Order Markov models (w is chosen dynamically)
  using entropy
  Entropy+Support

## Slide 12: Experiments
Data:
Training: 2012, 2013
Testing: 2014
5 Stations
Error Measure
Mean Absolute Error
SCBH1
C0875

## Slide 13: Overall Performance
SCBH1 station
Probabilistic with fixed w=2 has lowest error
Despite high average errors, entropy & entropy+support are better predictors of cloudy days

## Slide 14: MAE for Probabilistic Methods
Best value for w different for C0875 (and other stations), but still low.
SCBH1
C0875

## Slide 15: Choice of w
Entropy Choice
EntropySpt Choice
Entropy Choice
EntropySpt Choice
SCBH1
C0875
Notes: Support does change the distribution of w chosen

## Slide 16: How much training data ?
Target Year: 2014
Model:
  P(St | St-1) ; SCBH1
Training Years
  (2013)
  (2013, 2012)
  (2013, 2012 , 2011)
  ….

## Slide 17: Conclusions & Future Work
Probabilistic models are on average better than linear regression for 1-Day Forecasting
Small window size works best (Markovian)
One to two years of training data sufficient
Future work : incorporate larger weather features from GFS data

## Slide 18: Questions ?

## Slide 19: Backup Slides

## Slide 20: 5-day Sequence of Solar Irradiance

## Slide 21: Mean & Std. Dev. for Solar Irradiance
Actual Solar Std. Dev. and Mean on Training Data
Actual Solar Std. Dev. and Mean on Test Data
Notes: All plots range from -20 to 1000 (W/m^2).

## Slide 22: Naive Bayes Classifier
SCBH1
C0875

## Slide 23: Linear Regression
SCBH1
C0875